## Sheet1
Product Name | Product Type | Issue Description | Resolution Suggestion
Phospho-Akt (Ser473) | Antibody | No signal in Western Blot despite correct protocol | Verify primary antibody concentration and incubation times.
LC3B Antibody | Antibody | Weak signal in immunofluorescence | Increase fluorophore-labeled secondary antibody concentration
Anti-rabbit IgG HRP-linked | Secondary Ab | Non-specific bands in Western Blot | Optimize blocking solution and check for membrane leaks.
c-Myc Tag Antibody | Antibody | Expected band size incorrect in Western Blot | Confirm molecular weight and probe different dilutions.
Ki-67 (D3B5) Rabbit mAb | Primary Ab | No staining observed in immunohistochemistry | Verify tissue fixation and antigen retrieval methods.
Cleaved Caspase-3 (Asp175) | Primary Ab | High background in immunohistochemistry | Adjust secondary antibody and enhance washing steps.
JNK Antibody | Antibody | Blot shows overly intense bands leading to signal saturation | Decrease antibody concentration and shorten exposure time.
HER2/ErbB2 (D8F12) XP mAb | Primary Ab | Faint staining in flow cytometry | Increase antibody titration and validate with positive control.
GAPDH (D16H11) XP mAb | Antibody | Protein not detected in immunoprecipitation | Check cell lysis efficiency and antibody specificity.
Bcl-2 (50E3) Rabbit mAb | Antibody | Signal drift in ELISA | Calibrate ELISA reader and ensure consistent sample handling.
Akt (pan) (C67E7) | Antibody | Low reproducibility in kinase assay | Standardize kinase assay conditions and reagent concentrations.
PD-L1 (E1L3N) XP Rabbit mAb | Primary Ab | False negative results in immunohistochemistry | Revalidate staining protocol with known positive samples.
mTOR (7C10) Mouse mAb | Primary Ab | Inconsistent results across experiments | Implement rigorous standardization of experimental conditions.
S6 Ribosomal Protein (5G10) | Antibody | Difficulty in resolving bands in 2D gels | Optimize gel composition and running conditions.
Caspase-3 Antibody | Antibody | Cross-reactivity with other caspases in Western Blot | Employ more stringent washing conditions and trial different blocking agents.
Vimentin (D21H3) XP Rabbit mAb | Primary Ab | High background staining in immunofluorescence | Use higher quality fluorescence filters and adjust laser settings.
EGFR (D38B1) XP Rabbit mAb | Primary Ab | Antibody does not work in ChIP | Confirm antibody's compatibility with ChIP and try alternative source.
p53 (1C12) Mouse mAb | Antibody | Degradation of antibody over time | Store aliquots at -80°C to avoid freeze-thaw cycles.
MEK1/2 (47E6) Rabbit mAb | Primary Ab | Poor lot-to-lot consistency | Contact supplier for lot validation data and potential replacement.
Lamin A/C (4C11) Mouse mAb | Primary Ab | Smearing observed in nuclear fractionation assays | Improve nuclear extraction protocol and purity assessments.
α-Tubulin (11H10) Rabbit mAb | Primary Ab | Tubulin not detected in some cell lines | Verify expression levels with alternative methods.
Cyclin D1 (92G2) Rabbit mAb | Antibody | Cyclin D1 detection varies significantly between samples | Standardize sample preparation methods and check cycle phase.
CD44 (156-3C11) Mouse mAb | Primary Ab | Inconsistent staining in paraffin-embedded sections | Reassess antigen retrieval technique and section thickness.
PARP (46D11) Rabbit mAb | Primary Ab | Complete absence of signal in ELISA | Cross-validate with a different batch or antibody source.
STAT3 (79D7) Rabbit mAb | Primary Ab | Weak signal and high background in EMSA | Optimize binding reaction conditions and probe quality.